Student Worksheet

Activity 6:   Finding the purity of a sample of sodium carbonate by titration

Objective

- Be able to use volumetric equipment for dilution.

- Be able to carry out a titration.

- Be able to calculate purity using moles.

Equipment/materials

- 4.00 g dm–3 impure sodium carbonate, Na2CO3

- 0.1 mol dm–3 hydrochloric acid, HCl

- Methyl orange indicator

- Deionised/distilled water

- 25.0 cm3 pipette

- 50.0 cm3 burette and stand

- 250 cm3 volumetric flask

- Conical flask and funnel

- Wash bottle

- White tile

- Label or glass marker pen

Safety

- Sodium carbonate solutions are low hazard at this concentration.

- 1.00 mol dm–3 hydrochloric acid is low hazard.

- However wearing eye protection 	is recommended.

Procedure

- Fill your burette with 0.1 mol dm–3 hydrochloric acid, HCl

- Pipette 25.0 cm3 of impure sodium carbonate, Na2CO3 into a conical flask. (Seek advice on attaching pipette fillers)

- Add a few drops of methyl orange to the conical flask.

- Titrate the contents of the conical flask.

- Repeat the titration until you have concordant results (within 0.10 cm3).

- Record all results in an appropriate table.

Data

Na2CO3 + 2HCl    2NaCl + CO2 + H2O

C = 12.0, O = 16.0, Na = 23.0

Analysis of results

- Indicate which titres you use in your average.

- Calculate the average of your concordant results.

- Calculate the amount, in mol, of HCl reacting with the Na2CO3.

- Calculate the amount, in mol, of Na2CO3 in the pipette.

- Calculate the amount, in mol, of Na2CO3 in 1.00 dm3

- Calculate the mass of Na2CO3 in 1.00 dm3

- Calculate the % purity of Na2CO3 in the 1.00 dm3 sample.

From the examiner…

- It is important to present your results (with units) in a table showing initial and final burette readings.

- Show clearly how the average titre is obtained.

- Explain each line of your calculation as shown in the Analysis of Results section above.

- Consider how many significant figures to use within the calculation.

Consider how many significant figures to use in your final answer.

Questions

- Find out what could have caused the impurity in the sodium carbonate.

- Sodium carbonate has a number of uses in the lab and in industry. Find one for each.

- Explain why it was necessary to dilute the hydrochloric acid before carrying out the titration.

- Suggest how someone would have calculated the dilution of the HCl from 20.0 cm3 to 250 cm3.

- If the volumetric flask has a tolerance of 0.6 cm3, calculate the potential percentage inaccuracy in this apparatus.